IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Village of Horseheads Did Not Meet Treatment Requirements

Our water system recently violated a drinking water standard. Although this situation does not require that you take immediate action, as our customers, you have a right to know what happened, what you should do, and what we did to correct this situation.

On Sunday night October 17, 2021 disinfectant levels dropped below 0.2 milligrams per liter for 12 hours. The standard is that levels may not drop below 0.2 for more than four hours.

The problem occurred at Well 5, which provides about half our water each day, mostly to the north half of our service area.

What should I do?

- You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- People with severely compromised immune systems, infants, and some elderly may be at increased risk. These people should seek advice about drinking water from their health care providers. General guidelines on ways to lessen the risk of infection by microbes are available from EPA's Safe Drinking Water Hotline at 1-800-426-4791.

What does this mean?

This situation does not require that you take immediate action. If it had been, you would have been notified immediately. Tests taken the day after the problem was fixed did not indicate the presence of bacteria in the water.

Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.  These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

The problem was caused by a switch-over valve failure which did not draw chlorine from a second tank when the first chlorine tank ran out around 8 PM Sunday night. The problem was fixed immediately when it was discovered early Monday morning.

For more information, please contact Horseheads Village Hall at (607) 739-5691 or the Chemung County Health Department at (607) 737-2019.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by the Village of Horseheads Water Department.

State Water System ID#: NY0701009				Date distributed: 10/25/2021